Specifier Note: The purpose of this guide specification is to assist the Specifier in correctly specifying Innovation MgOTM subfloor sheathing and its installation. The Specifier needs to edit these guide specifications to fit the needs of specific projects. Contact US MgO Company to assist in appropriate product selections. Throughout the guide specification, there are Specifier Notes to assist in editing the file. Red text in brackets indicates a selection needs to be made by the Design Professional. It is not intended to be a stand-alone document. This guide specification will need to be carefully reviewed for appropriateness for the given project and edited accordingly to comply with project-specific requirements.

Innovation MgOTM Subfloor Panels can replace fire-retardant-treated plywood, OSB, cementitious, and gypsum sheathing panels, amongst others. Innovation MgOTM Subfloor Panels can be used in fire-resistant assemblies. Subfloor assemblies that are required to be fire-resistant rated and/or load-bearing need to be installed per the published ESL.

Visit our website for supporting documentation: www.USMgO.co.

SECTION 06 16 23 – SUBFLOORING

GENERAL

SECTION INCLUDES

Structural subfloor panels, manufacturer, components, and accessories.

RELATED SECTIONS

** NOTE TO SPECIFIER ** - Delete any paragraphs below not applicable to project manual.

Section 05 20 00 – Metal Joists

Section 05 40 00 – Cold Formed Metal Framing

Section 06 11 00 – Wood Framing

Section 06 10 00 – Rough Carpentry

Section 07 21 00 – Thermal Insulation

Section 09 10 00 – Metal Support Assemblies

Section 09 30 00 - Tile

Section 09 60 00 - Flooring

REFERENCE STANDARDS

ASTM E84 - “Standard Test Method for Surface Burning Characteristics of Building Materials”.

ASTM D1037 - “Standard Test Method for Evaluating Properties of Wood-based Fiber and Particle Panel Materials”, Section 15: Nail Head Pull Through.

ASTM E72 - “Standard Test Method of Conducting Strength Tests of Panels for Building Construction”.

ASTM E96 - “Test Method for Water Vapor Transmission of Materials”.

ASTM G21- “Standard Test Method for Determining Resistance of Synthetic Polymeric Materials to Fungi”.

ASTM D1761 - “Standard Test Methods for Mechanical Fasteners in Wood, Modified for Shear”.

ASTM C1280 – “Standard Specification for Application of Gypsum Sheathing”.

ASTM D6109 – “Standard Test Methods for Flexural Properties of Unreinforced and Reinforced Plastic Lumber and Related Products”.

ASTM E136- “Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750° C”.

ASTM E119- “Standard Test Methods for Fire Tests of Building Construction and Materials”.

ICC-ES Acceptance Criteria (AC) 386 – “Acceptance Criteria for Fiber-Reinforced Magnesium-Oxide-Based Sheets”.

ANSI/AISI S100 – “North American Specification for the Design of Cold-Formed Steel Structural Members”.

ANSI/AISI S210 – “North American Specification for Cold-Formed Steel Framing – Floor and Roof System Design”.

ANSI/AISI S214 – “North American Specification for Cold-Formed Steel Framing – Truss Design”.

ANSI/AISI S230 – “Standard for Cold-Formed Steel Framing – Prescriptive Method for One- and Two-Family Dwellings”.

ACTION SUBMITTALS

See Section 01 30 00 – Administrative Requirements for submittal procedures.

Manufacturer’s Product Data: Submit data sheets for structural sheathing and accessories. Include instructions for handling, storage, installation, and protection.

Manufacturer’s Installation Instructions: Indicate special handling criteria, installation sequence, cleaning procedures, and standard installation procedures. Include manufacturer’s standard details of joints, corners, and penetrations.

Evaluation Reports and Listings: From ICC-ES for sheathing products.

Product Certifications: From manufacturer indicating that sheathing products comply with indicated Performance Criteria.

[Delegated Design for load-bearing assembly, including calculations and details signed and sealed by the properly licensed professional responsible for their design.]

Warranty: Sample unexecuted copy of manufacturer’s product warranty.

CLOSEOUT SUBMITTALS

Warranty: Executed copy of manufacturer’s product warranty.

QUALITY ASSURANCE

Manufacturer Qualifications: Manufacturer shall be a company that regularly manufactures and assembles structural sheathing in its own fabrication and owned facilities.

Field Quality Control Plan:

Visually inspect structural substrate prior to beginning installation. Ensure tolerance and conditions are acceptable prior to beginning installation.

Photographically document observations and maintain record of observations.

Installer Qualifications: Company specializing in performing the work of this Section with minimum [3] [4] [5] years of experience.

DELIVERY, STORAGE, AND HANDLING

Transport and handle items in accordance with manufacturer’s instructions.

Coordinate deliveries to avoid delay in, or impediment of, progress of the work.

Store packaged materials in original containers in a horizontal orientation with seals unbroken and labels, including grade seal, intact until time of use, in accordance with manufacturer’s instructions. Do not stack beyond manufacturer’s specific requirements.

Store installation system materials in a dry location and handle in a manner to prevent chipping, breakage, and contamination.

Store structural sheathing panels off ground, under cover, and keep dry. Pallets shall sit on even gravel or concrete surface when able.

Maximum pallet stack height shall be six (6) pallets.

Long term panel storage shall be kept in a warehouse condition.

Protect latex additives, organic adhesives, epoxy adhesives and sealants from freezing or overheating in accordance with manufacturer's instructions; store at room temperature when possible.

Outdoor storage prior to installation requires a waterproof tarpaulin and elevated storage above ground level a minimum of four (4) inches if removed from factory pallet shipping platform.

SEQUENCING

Coordinate with the installation of thermal insulation and framing as specified.

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

PROJECT CONDITIONS

Do not install products under environmental conditions outside manufacturer's absolute limits. Project site should be kept clean. Frequently blow off floors, walls, tools, and other areas that may collect dust residue from cutting.

Framing shall be structurally sound, free from bows, twists, or other malformations, installed correctly, and in compliance with local building code requirements and project specifications. Damaged or incorrect framing shall be replaced before installation of panels.

Installation of subfloor panels the temperature shall be above 0º F. Do not install boards that are frozen or contain frost. If adhesive is being used temperature shall follow limitations of adhesive manufacturer.

Prior to the application of toppings, underlayments and finished flooring, panels must be conditioned at the same temperature and conditions as required by each respective product manufacturer for at least 48 hours.

Panels shall be regularly cleared of snow, ice, and standing water during open jobsite conditions. Use caution not to gouge, scrape or damage panels.

Do not use salt or other chemicals for anti or de-icing purposes.

PRODUCTS

BASIS OF DESIGN

US MgO Company: Wilmington, NC 28401. www.USMgO.co. 1-855-MgO4YOU (646-4968). Info@USMgO.co.

** NOTE TO SPECIFIER ** - Delete any paragraphs below not applicable to project manual.

Substitutions: Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01 60 00.

PERFORMANCE REQUIREMENTS

** NOTE TO SPECIFIER ** - Innovation MgOTM Subfloor Panels, as a product, are fire-resistant and can be used as a component of a tested fire-resistant or fire-rated assembly. Fire-rated assembly information is for example only. Coordinate project specific requirements and other specification sections to include each assembly component. Include graphic assembly in drawings. ICC-ES design numbers listed below are for Innovation MgOTM Subfloor Panels.

Component of Fire-Resistant Assembly in accordance with ASTM E119.

MAGNESIUM OXIDE STRUCTURAL SUBFLOOR SHEATHING PANELS

Physical Characteristics:

ICC-ES Classified and Audited Production:

Type: Magnesium Oxide (MgO) Board.

Thickness: Nominal 3/4” (19 mm).

Panel Size: Nominal 48 inches (1220 mm) by 96 inches (2440 mm).

Panel Edges: Square, tongue and groove.

Panels identified with stamp or label including report holder, manufacturing facility, and production date.

Tested in accordance with ASTM E84 to be Class A.

Flame Spread Index: 0 – 25

Smoke Developed Index: 0 - 450

Mold Resistance: No mold growth observed per ASTM G21.

Weather Exposure: Resists weathering when left exposed for up to 180 days.

Flexural Modulus: Not less than 2,610 psi (18 MPa) when tested in accordance with ASTM D6109.

Flexural Strength: Not less than 2,610 psi (18 MPa) when tested in accordance with ASTM D6109.

PANEL FASTENERS

Fasteners:

Shall be approved panel fasteners by manufacturer.

Fasteners shall be corrosion resistant type with bugle countersunk heads.

Install with head flush with board.  Do not overdrive fasteners.

Fasteners must be spaced a minimum of 3/8-in. from all edges and no closer than 2-in. from a corner.

Fasteners must be spaced a minimum of 3/8-in. from all edges and no closer than 2-in. from a corner.

Nails:

Nails must be minimum 0.113 x 2-in. (50.8 mm) Ring shank nails with a maximum of 24-in. o.c. with fasteners spaced a maximum of 6-in. o.c. around the perimeter of the panel, and 12-in. o.c. at the intermediate stud locations in the field of the panel.

EXECUTION

EXAMINATION

Verify that surfaces and conditions are ready to accept the work of this section.

Do not begin installation until framing members have been properly prepared.

PREPARATION

Protect surrounding area from possible damage during installation of structural sheathing.

Remove projections, protruding fasteners, and loose or foreign matter that might interfere with proper installation.

If deficiencies exist, consult Architect. Correct deficiencies in accordance with manufacturer’s recommendations.

Beginning installation constitutes Contractor’s acceptance of existing conditions.

FRAMING

Floor Framing:

Wood Framing structural bearing edge shall be a minimum 1-1/2” wide, meeting specifications and requirements for use in a structural floor system. Follow manufacturer’s installation instructions. Deflection criteria per the building designer’s requirements.

Cold formed steel with minimum 16 gauge, with minimum 1-5/8” flange, meeting AISI and ASTM specifications and requirements for use in a structural floor system. Follow manufacturer’s installation instructions.

Floor Framing Alternative: Truss System: Prefabricated light gauge steel truss system consisting of cold-formed steel chord and web sections. Minimum G60 galvanized coating, minimum 20g, with minimum 1-5/8” flange. Cold formed steel truss system meeting AISI and ASTM specifications and requirements for use in a structural floor system. Loading and deflection criteria are project specific. Deflection criteria per the building designer’s requirements.

Adhesives: When bonding panel joints to each other, or bonding subfloor panels to structural wood framing members, select proper adhesives compatible with masonry and wood surfaces such as solvent or polyurethane-based construction adhesive meeting APA AFG-01 or ASTM D3498. Follow all manufacturer’s installation instructions.

Framing shall be spaced a maximum of 24” o.c.

Plan framing so that all board edges are supported by structural framing.

In all cases where panels are either (a) installed in a single span condition lengthwise; (b) less than 24” wide; or (c) installed as a stair tread / landing, panels must receive structural framing support at all panel edges such as blocking. Strapping is not sufficient.

Fasteners shall be driven flush with the framing.

Framing must be of good quality and free of malformations such as twists, bows, or sags.

Plan accordingly for expansion joints.

INSTALLATION OF SHEATHING

Install in conformance with ASTM C1280.

Install in accordance with manufacturer’s instructions, requirements of applicable evaluation reports and fire-resistant assemblies, and requirements of authorities having jurisdiction.

Comply with applicable building codes for wind, seismic, vibration, snow, concentrated, impact, and uniformly distributed live-loads and other loading requirements as determined by the project architect and engineer.

Placement: Place all panels in a running bond pattern with all butt joints over joists.  All panels should be staggered with a 1/16" (1.6 mm) gap between boards to accommodate movement when attached to CFS and 1/8" (3.2 mm) gap when attached to wood.

Underlayment:  In certain circumstances underlayment, isolation membranes and seam bridging membranes may be “needed” or “required”.  Follow manufacturer's installation instructions.

Adhesives: Panels may have a 1/4" bead of adhesive applied before placement over joist as desired.  Do not allow adhesive to skin over.  Use ASTM D 3498 compliant adhesives.  Approved manufacturers:

PEMCO 5100 non-flammable, solvent free, zero V.O.C., polyurethane adhesive.

BOSTICH Heavy Duty Construction Adhesive.

OSI SF450 Heavy Duty Subfloor & Construction Adhesive.

LOCTITE PL 400 Subfloor Adhesive/ Loctite PL Premium Polyurethane Adhesive.

** NOTE TO SPECIFIER ** - Coordinate fastener spacing with requirements of assembly. Indicated spacing MUST be adjusted accordingly to meet shear and/or fire requirements.

PRECAUTIONS

Avoid concentrated point loads and impact loads on panels by referring to concentrated load tables and as determined by project architect and engineer. Pay close attention to staging areas for building materials and/or equipment such as masonry units, hoists, framing members, sheet goods, ladders, scaffolding, toolboxes, etc.

Measures shall be taken to distribute concentrated and point loads on the deck system during construction such as the utilization of pallets, dunnage, and/or structural building panels such as plywood or OSB laid over multiple spans.

Areas that are subject to heavy construction traffic and abuse shall be protected with sacrificial panels such as plywood / OSB until these activities have completed.

PROTECTION

Protect installed products until completion of project.

Cover the top and edges of unfinished sheathing work to protect it from the weather and to prevent accumulation of water in the panels.

Wet panels shall be allowed to completely dry prior to application of any covering materials or treatments.

Repair or replace damaged products before Substantial Completion.

END OF SECTION 06 16 23